PNEUMONIA DETECTION FROM CHEST X-RAY IMAGES - PROJECT PROPOSAL

Project Metadata:

Author: Samet Furkan Bülüç

Domain: Computer Engineering Portfolio Project

---

## 1. Domain and Topic Narrowing

Primary Domain: Medical Computer Vision / Image Classification.

Specific Problem: Automated screening and classification of pediatric chest X-ray scans to detect signs of pneumonia.

Motivation: Erken teşhis (early diagnosis) is critical in pediatrics. Deep learning decision support tools can help screen patient queues in low-resource environments.

## 2. Input and Output Definition

Input: $224 \times 224$ normalized RGB/Grayscale chest X-ray image.

Output: Binary classification label (NORMAL or PNEUMONIA) with Softmax probability scores.

## 3. Research and Literature Plan

Literature Review: Evaluate deep CNNs, VGG, DenseNet, and ResNet architectures used in clinical imaging over the last five years.

Metrics Selection: Focus on Sensitivity (Recall) to ensure low false negative rates, coupled with ROC-AUC.

## 4. Dataset Selection

Data Source: Chest X-Ray Images (Pneumonia) hosted on Kaggle.

Composition: Train and test splits divided into NORMAL and PNEUMONIA subfolders.

## 5. Methodology and Baseline Models

Baseline Model: Simple 4-layer CNN trained from scratch.

Advanced Model: Pretrained ResNet-50 with a custom classification head, trained using transfer learning (backbone frozen) and fine-tuning.

XAI Integration: Grad-CAM hooks added to the final convolutional layers to render visual support heatmaps.

Deployment: A Streamlit interface to load the model checkpoint and process user X-ray uploads dynamically.